{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["品牌推荐表"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"品牌推荐表","index":0,"n_rows":24,"n_cols":6,"rows_kept":24,"merged":[[0,0,0,5],[23,0,23,5]],"flags":["formulas_cached_only"]}
["未来科技城西区32#楼二楼装修工程主要材料招标人参考品牌一览表"]
["序号","材料名称","规格及型号","技术标准","参考品牌","备注"]
[1,"铝型材","规格见图纸","优等品","浙江栋梁、广东凤铝、坚美、忠旺、信元"]
[2,"结构胶、耐候胶","规格见图纸","优等品","道康宁、广州白云 、郑州中原、成都硅宝"]
[3,"石材胶","规格见图纸","优等品","常熟大力宝、上海大力士、武汉大力士"]
[4,"五金配件","规格见图纸","优等品","坚朗、雅洁、顶固、大连汇荣"]
[5,"玻璃","规格见图纸","优等品","昆山台玻、南玻、耀皮"]
[6,"墙地砖","规格见图纸","优等品","特地、冠珠、萨米特、博德、斯米克、东鹏、冠军、鹰牌、诺贝尔"]
[7,"铝单板","规格见图纸","优等品","西飞、七色、欧斯宝、友邦、吉祥"]
[8,"涂料","规格见图纸","优等品","美涂士、立邦、华润、紫金花、三棵树、多乐士、嘉宝莉"]
[9,"防水材料","规格见图纸","优等品","雨虹、正大、卓宝、宏源、雨水情、禹王、科顺"]
[10,"石膏板、轻钢龙骨及配件","规格见图纸","优等品","可耐福、拉法基、龙牌、泰山"]
[11,"墙纸","规格见图纸","优等品","广东玉兰、江苏爱舍、柔然墙纸、九龙、欧雅、天丽"]
[12,"地毯","规格见图纸","优等品","华德、海马、山花、东升、富兴"]
[13,"不锈钢","规格见图纸","优等品","华诚、东鸿、响当当、鸿兴、光大"]
[14,"静电地板","规格见图纸","优等品","汇丽、中天、华通、红日"]
[15,"配电箱（电气元器件）","规格见图纸","优等品","正泰、上海人民、德力西"]
[16,"电线、电缆","规格见图纸","优等品","江南、远东、上上、宝胜、东强"]
[17,"普通灯具","规格见图纸","优等品","雷士、三雄极光、欧普"]
[18,"开关、插座","规格见图纸","优等品","雷士、欧普、三雄极光"]
[20,"保温材料","规格见图纸","优等品","华美、华能、福乐斯"]
[21,"卫生洁具","规格见图纸","优等品","九牧、恒洁、法恩莎"]
[22,"给排水管道、电工管","规格见图纸","优等品","联塑、伟星、中财、公元"]
["注：1、以上材料在进场前须经建设单位和设计院认可，建设单位有权在颜色、用量、材质、配置等方面做出适当调整，但价格不予调整。\n    2、投标人如采用贴牌产品，一经发现取消中标资格、终止合同，并承担相应的法律责任。\n    3、有关火灾报警、应急照明系统设备品牌应与原系统兼容，且品牌与样式与现场原有的一致。       \n特别说明：①投标人投标时无需选择某一具体品牌，但供货时必须选择其中一种进行供货。如投标人采用参考品牌以外的其他产品供货的，质量和性能等技术指标必须优于或者相当于参考品牌，且必须在投标答疑截止时间前以书面形式向招标人提出，经招标人认可后以答疑文件的形式发出后方可。一旦中标，中标人不得以任何理由更换参考品牌。 ②投标时投标人不需要提供本表。"]